Water monitoring and sample point

Notes

Any redundant outfalls identified during V ditch excavation shall be stoppered up to prevent discharge to River Irk.

Discharge points subject to  UU formal discharge consent

River Irk watercourse will be subject to daily visual inspection recorded on record sheet ENV-08-UR Watercourse Inspection sheet, supplemented with record photos, for retention on site for inspection. sampling known outfalls tbc by E3P / Kellen Homes

367 Don Street

Dewatering Sketch

Area 1

Notes

Any redundant outfalls identified during V ditch excavation shall be stoppered up to prevent discharge to River Irk

Discharge points subject to  UU formal discharge consent

River Irk watercourse will be subject to daily visual inspection recorded on record sheet ENV-08-UR Watercourse Inspection sheet, supplemented with record photos, for retention on site for inspection. sampling known outfalls tbc by E3P / Kellen Homes

Water monitoring and sample point

367 Don Street

Dewatering Sketch

Area 2/4

Notes

Any redundant outfalls identified during V ditch excavation shall be stoppered up to prevent discharge to River Irk

River Irk watercourse will be subject to daily visual inspection recorded on record sheet ENV-08-UR Watercourse Inspection sheet, supplemented with record photos, for retention on site for inspection. sampling known outfalls tbc by E3P / Kellen Homes

Water monitoring and sample point

367 Don Street

Dewatering Sketch

Area 5

Notes

Any redundant outfalls identified during V ditch excavation shall be stoppered up to prevent discharge to River Irk

Ditch Embankment

straw bales places at Intermittent intervals along cut off trench

Approx. 1.0m

Original Ground

Typical  Temporary Silt Trap Detail

367 Don Street

Typical Temporary V Ditch Silt Trap Detail

Don Street

Area 1

River Irk Min. 8.0m easement