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Notes
Any redundant outfalls identified during V ditch excavation shall be stoppered up to prevent discharge to River Irk.
Discharge points subject to  UU formal discharge consent
River Irk watercourse will be subject to daily visual inspection recorded on record sheet ENV-08-UR Watercourse Inspection sheet, supplemented with record photos, for retention on site for inspection. sampling known outfalls tbc by E3P / Kellen Homes
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Ditch Embankment
straw bales places at Intermittent intervals along cut off trench
Approx. 1.0m
Original Ground
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367 Don Street
Typical Temporary V Ditch Silt Trap Detail
Don Street
Area 1
River Irk Min. 8.0m easement
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