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Drainage Consultation on Application – 24/01103/FUL - Dewhirst House Dewhirst Road Rochdale OL12 9TX
LLFA Consultation Response on behalf of Head of Highways and Engineering
Date of Response: 4th August 2025
Location & Proposed Development
Dewhirst House Dewhirst Road Rochdale OL12 9TX
Subdivision of existing dwelling, together with conversion of existing barn and stables, into three dwellings, alongside alterations to existing elevations, additional fenestration and a proposed single storey rear extension
Documents Reviewed
· Location Plan
· Existing Ground Floor Plan
· Proposed Ground Floor Plan
· Existing First Floor and Roof Plan
· Proposed First Floor and Roof Plan
· Existing and Proposed Block Plan
Drainage & Flood Officer Comments
1. The applicant has not incorporated any drainage information within their proposal. A full planning application should include a drainage strategy/proposal that follows the SuDS hierarchy.

2. The aim should be to discharge surface run off as high up the following hierarchy of drainage options as reasonably practicable: The ordered drainage techniques to be assessed with the aim to reduce or omit lower techniques:
· Control at Source (Infiltration / Recycling)
· On Site Treatment (Basins, Swales, Rain gardens, Tree pits)
· Local Treatment (Adoptable Ponds, Basins, Swales etc)
· Regional Treatment (ditto usually to a larger scale)
· Discharge to Watercourses / Bodies
· Discharge to SW Sewers
· Discharge to Combined Sewers

3. Applicants should refer to and adopt the principles set out within C753 SuDS Manual ‘The SuDS approach to managing surface water runoff’. 

Drainage & Flood Officer Summary:
I. The application should be supported by an acceptable drainage proposal. 
II. The above points should be addressed before the application is approved. 
Consultation by Keith Mealey
Drainage & Flooding Officer
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