Method Statement for 22/01515/LBC proposed reinstatement of four bricked up windows to front elevation.

- Cut through concrete rendering using an slitting disc on a 110v angle grinder around bricked up windows.

- Carefully remove rendering from stone mullions and clean.

- Remove rendering and brickwork to windows leaving openings.

- Fit new hardwood and painted window frames to match existing windows.

- Point and make good to outside.

- Repaint external frames.

Window details

Hardwood and painted casement windows, two pane as per original windows, (see photograph of existing front elevation.