|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk Your Ref: 24/00754/FUL |
| --- | --- | --- |

Date: 20th May 2025

Team: Environmental Control (Landfill Gas)

Application Number: 24/00754/FUL

Proposal: Change of use of the first and second floors of the existing commercial building from Use Class E to 4 self-contained residential apartments Use Class C3 and the erection of 7 x 3 bedroom dwellings on land immediately adjacent to the north

Dear Nick,

I have reviewed the Phase I Geo-Environmental Risk Assessment undertaken by Roberts Environmental Ltd (report reference 240105.PI.01), and submitted with the application.  This report makes several recommendations with which I agree.  Therefore, should you grant permission, I would request the following condition be placed on the permission:

“APAS CODE CW042 Site Investigation and Assessment

Prior to commencement of the development an investigation and risk assessment, in addition to any assessment provided with the planning application, must be completed to assess the nature and extent of any contamination on the site, whether or not it originates on the site.  The investigation and risk assessment must be undertaken by competent persons and a written report of the findings must be produced and shall have been first submitted to and approved in writing by the Local Planning Authority before development commences.  The report of the findings must include:

- a survey of the extent, scale and nature of contamination

- an assessment of the potential risks to:

- human health,

- property (existing or proposed) including buildings, crops, livestock, pets, woodland, and service lines and pipes,

- adjoining land,

- groundwaters and surface waters,

- ecological systems,

- archaeological sites and ancient monuments;

- where unacceptable risks are identified, an appraisal of remedial options and proposal of the preferred option(s)

The development shall thereafter be completed in full accordance with the approved recommendations.”

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)