# Highways and Engineering Service - Economy and Environment

# Drainage Consultation on Application – 25/00014/REM - Land Bound By Manchester Road, Hareshill Road & Pilsworth Road West Of Junction 19 Of The M62 (Land South Of Queen Elizabeth II Way), Heywood,

# LLFA Consultation Response on behalf of Head of Highways and Engineering

Date of Response: 17th April 2025

Location & Proposed Development

Land Bound By Manchester Road, Hareshill Road & Pilsworth Road West Of Junction 19 Of The M62 (Land South Of Queen Elizabeth II Way), Heywood,

Enabling works to facilitate the installation of a primary substation following the approval of planning application 16/01399/HYBR comprising of bulk earthworks, removal of inert material, diversion of surface water drains and alterations to culverts and watercourses.

Documents Reviewed

- Enabling Works - Drainage Note

- Enabling Works - Proposed Site Plan

- Primary Substation Existing Site Plan

- UU Consultation Response 02/04/25

- Enabling Works - Existing Contour Plan

- Enabling Works - Proposed Contour Plan

- 16/01399/HYBR – Decision Notice

Drainage & Flood Officer Comments

- The Enabling Works Drainage Note documents previous discussions with RBC where the drainage proposals were accepted in principle.

- The original decision notice requires details of drainage details for each phase. It is unclear if this application is part of a larger phase. This is also reflected in UUs consultee comments

Drainage & Flood Officer Summary:

- The application is acceptable in principle subject to resolution of the phasing issues / requirements.

Consultation by Keith Mealey

Drainage & Flooding Officer

keith.mealey@rochdale.gov.uk