
	[image: RBC logo portrait 2016]

	
	Public Health and Communities 
Kuiama Thompson
Director of Public Health and Communities


Public Protection and Customers  
Number One Riverside,
Smith Street, Rochdale, OL16 1XU

Tel: (01706) 924688
Email: jonathon.parr@rochdale.gov.uk
Website: www.rochdale.gov.uk

Your Ref:  25/00273/DOC
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Date: 25th April 2025
Team: Environmental Control (Landfill Gas) 
Application Number: 25/00273/DOC 
Proposal: Submission of details to comply with conditions 3 (uu drainage condition), 4 (land contamination), 5 (visibility splay), 7 (window door reveals), 8 (landscaping) and 11 (Fences/boundary treatments) on planning permission 24/00759/FUL

Dear Rosalind, 
I have reviewed the report produced by TJ Booth Associates (report reference rep-tjba-fairway-26 falcon cl-Phs1_2_3Env-200125) which has been submitted to discharge planning condition 4 on planning permission 24/00759/FUL.  

I am in agreement with the results of the report.

To completely discharge the condition, however, the recommended remediation will need to be undertaken, with subsequent post-remediation verification as recommended within the TJ Booth Associates report.

Therefore, should you wish it, the condition can be partially discharged, with the following section of the condition remaining to be discharged:

“The development shall thereafter be carried out in full accordance with the duly approved remediation strategy.”
  
Yours sincerely,

Jonathon Parr

Jonathon Parr
Environmental Health Senior Officer (Environment Prot)
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