ROTA-ROD LTD

DRAIN SEWER & PIPE CLEANING SERVICES

81 JAMES STREET, LITTLEBOROUGH, ROCHDALE. OL15 8NF

TEL: 01706 372111

EMAIL: rota-rod@sky.com

43 Bamford Way





13/03/23
Rochdale

REPORT

MH-MH AT No 41 (Foul Water)
There are fractures/cracks and tree root ingress at 0.9m.
Recommend resin reline 3m of 100mm diameter pipe to seal the cracks/fractures and prevent the tree roots from returning.

£450+VAT
UUMH ROCHBURY CLOSE (Upstream)
The CCTV survey from UUMH goes to another manhole on the property back towards your site. You would need to ask permission to gain access to this manhole. Then we could camera further towards your site. 
