# Highways and Engineering Service - Economy and Environment

# Drainage Consultation on Application – 25/00128/DOC - Riverside Motors Todmorden Road Littleborough Rochdale OL15 9EG

LLFA Consultation Response on behalf of Head of Highways and Engineering

Date of Response: 15th May 2025

Location & Proposed Development

Riverside Motors Todmorden Road Littleborough Rochdale OL15 9EG

Submission of details to comply with conditions 4 (site investigation) and 5 (drainage schemes) on planning permission 23/01374/FUL

Documents Reviewed

23/01374/FUL

- Microdrainage Calculations (1 In 1, 1 In 30, 1 In 100)

- Phase 2 Site Investigation And Geo-Environmental Appraisal

25/00128/DOC

- Drainage plan & details dwg-tjba-green-riverside business park-151221 Rev 0

- Microdrainage Calculations (1 in 1, 1 in 30, 1 in 100)

- Phase 2 Site Investigation and Geo-environmental appraisal

Drainage & Flood Officer Comments

Condition 5 of 23/01373/FUL requires the drainage scheme to incorporate.

- A restricted rate of surface water discharge to the adjacent watercourse to 5l/s, attenuation storage within the site, and an appropriately specified fuel interceptor.

- Construction details for permeable paving including kerbing and cross-section of open graded sub-base, if this type of paving forms part of the sustainable drainage system.

- Levels of the proposed drainage systems including proposed ground and finished floor levels in mAOD.

- The background calculations of the MicroDrainage model or any other software or calculations that have been used for the drainage design.

- Provision of a short Maintenance Document explaining how the surface water scheme will be maintained and managed after completion. This should include an As-Built drainage plan of the site.

- The applicant has provided an updated drainage plan indicating the drainage arrangements of the scheme.

- Surface water discharge restricted to 5 l/s to the adjacent watercourse

- Attenuation storage

- Shown a petrol interceptor included on the drainage scheme.

- The proposal has included Levels of the proposed drainage systems including proposed ground and finished floor levels in mAOD on the drainage plan drawing. However, the FRA identifies a minimum FFL of 145.95m. However, the drainage plan indicates lower FFLs. Please clarify.

- The proposal has included the appropriate micro-drainage calculations with the correct climate change events used to support their drainage scheme.

- The proposal has not yet indicated a maintenance plan for the SuDS components used within the drainage scheme. This is required to discharge condition 5.

Drainage & Flood Officer Summary:

- Clarify / confirm that FFLs are 145.95 minimum in accordance with the FRA.

- The condition requires the submission of a maintenance plan.

- The above points should be addressed before the application is approved.

Consultation by Keith Mealey

Drainage & Flooding Officer

keith.mealey@rochdale.gov.uk