APPLICATION REFERENCE: 22/01094/LBC

Proposal: 	Refurbishment of existing cottage. Works include: Internal: replacement of existing bathroom suite and kitchen, repainting of surfaces, removal and replacement of skirting boards, carpet flooring and laminate, lime plastering, exposure of internal beams and lintels, replacement of heating system. External: replacement of all doors and windows, repointing and cleaning of masonry and reroofing of single storey lean-to.

Location: 	13 Hollingworth Fold, Littleborough, OL15 0AJ

Part I - Particulars of Application

Date of Application: 26 August 2022

Part II - Particulars of decision

Date of Granted: 27 October 2022

GRANTED SUBJECT TO CONDITIONS

Herewith the supporting documentation in relation to the discharge of planning conditions for the application ref: 22/01094/LBC:

| No. | Condition(s): | Supporting Documents/Comments: | Source: | Date of Discharge of Condition: |
| --- | --- | --- | --- | --- |
| 1 | “The development must be begun not later than three years beginning with the date of this permission” | Construction on site to commence 18th September 2023. | RBC |  |
| 2 | “This permission relates to the following plans:- - 2004220 T-01 - 2004220 T-02 Rev. A - 2004220 T-03 Rev. B - 2004220 T-05 Rev. B'' And the development shall be carried out in accordance with these drawings hereby approved.” | The drawings as listed form part of the contract with the contractor and will be therefore adhered to. | RBC |  |
| 3 | Prior to the installation of the new kitchen and bathroom suites, details of all new and relocated services and drainage runs shall be submitted to and approved in writing by the Local Planning Authority. The works shall be carried out in accordance with the approved details. Reason: To ensure that special regard is paid to protecting the special architectural and historic interest and integrity of the building under Section 16 of the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 4 | Prior to the installation of any new internal doors full details of internal doors shall be submitted to and approved in writing by the Local Planning Authority. The development shall be carried out in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 5 | Prior to any re-plastering works taking place, details of the areas to be re-plastered and details of the lime plaster to be used, shall be submitted to and approved in writing by the local planning authority. The works shall be carried out in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 6 | Prior to their installation details of the new floor finishes on the ground floor shall be submitted to and approved in writing by the local planning authority. The works shall be carried out in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 7 | No external cleaning works shall take place until: a. A detailed stone cleaning method statement has been submitted to and approved in writing by the local planning authority. b. Trial cleaning samples have been carried out and agreed on site with the local planning authority. The works shall be carried out in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. | See attached Method statement. | BE BOYS/RBC |  |
| 8 | Prior to the carrying out of the re-roofing of the lean-to extension, details or samples of the natural slate to be used shall be submitted to and approved in writing by the Local Planning Authority. The works shall be carried out in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. | Taking this work out of the project it will not be done in the scheme. | BE BOYS/RBC |  |
| 9 | Prior to the replacement of any external doors, details of the new external doors shall be submitted to and approved in writing by the local planning authority. The development shall thereafter be completed in accordance with the approved details. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 10 | Prior to the removal of the existing windows, details of all replacement windows frames shall be submitted to and approved in writing by the Local Planning Authority. Such details shall indicate, at a scale of not less than 1:20, the longitudinal and cross-sectional detailing, cill and lintel detailing, and means of opening together with any finished treatment. The window frames shall be installed in accordance with the approved details and thereafter so maintained. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. |  | BE BOYS/RBC |  |
| 11 | Prior to the repointing works taking place, a method statement for the removal of existing mortar and repointing works shall take place. This shall include the mortar mix, profile and finish, as well as details for the removal of the existing mortar and the preparation of the masonry joints. Under no circumstances whatsoever are powered tools (for example, air-driven tools; electric angle grinders and so forth) to be used to cut back masonry joints prior to repointing. Reason: In order to preserve the historic fabric and architectural quality of the listed building in accordance with the Planning (Listed Buildings and Conservation Areas) Act 1990. | See method statement attached, Blade spec and size and sample mortar photos. | BE BOYS/RBC |  |
| 12 |  |  |  |  |
| 13 |  |  |  |  |