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Project EV 7.3KW Pro Earth Floor Charger Dual Gun RFID (63a Single Phase) - EVA-07D-
SE-RFID Details

Project EV's 7.3kW Pro Earth Floor Charger is an attractively designed charger that provides full electrical protection to suit your needs, charging your electric
vehicles to a high standard. As a market leading addition, the EV charger comes packed with features to suit your needs creating a fast charging solution, suiting
many charging capabilities. The Project EV Chargers have variety of control methods with the plug and charge feature or app to control your charger allowing
you to charge your car with a simple plug and play mode.

The Project EV Charger is an addition that fits into the charging marketing as a convenient feature that ensures total protection and safety ideal for any electric
vehicle. Adding the Project EV Charger helps to create a stress free option making it ideal for any users due to the range of control modes, creating the ideal
solution whether within domestic or commercial areas.

Key Features

* Dimensions: 1635 x 320 x 175mm

Input Amps: 63A Single Phase

« Input Voltage: 230V

« Input Frequency: 50 Hz

« Charging Interface Type: [EC 62196-2, Type 2
« Protection Degree: IP65

« Environment Temperature: -25°C to 50°C
o IK Rating: IK10

« Dual Gun Pro Earth

o Cable Lock System

« Off-Peak Time Shifting

« Integrated RCBO Isolation

o 5Year Manufacturer Warranty




image2.png
Tech Specs

SKU EVA-07D-SE-RFID
Manufacturer Project EV
Manufacturer's Guarantee 5 Years

Brand Project EV

MPN EVA-07D-SE-RFID
Range AC Single Phase
Product Type Floor Charging Station
Condition New

Size 1635x320x175mm
Height 1635mm

Depth 175mm

Charging Cable No Cable

Width (mm) 320mm




