|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 11/09/2025

Team: Environmental Control (Landfill Gas)

Application Number: 25/00878/DOC

Proposal: Submission of details to comply with conditions 7 (soft landscaping), 9 (drainage), 10 (CMP), 11 (Dilapidation Survey) and 12 (Investigation and Risk Assessment) on planning permission 24/00959/FUL.  Land adjacent to Rochdale Road at both Hillbank Street and Church Ave.

Dear Nick,

I have reviewed the following documents submitted with the planning application:

- TJ Booth Associates Geo Environmental Audit, Phase 1 Preliminary Risk Assessment, Phase 2 Site Investigations, Phase 3 Remediation Strategy, Proposed Residential Development, Church Avenue, Middleton, Report Reference rep-tjba-harrison-church ave-phs1_2_3env-270824.docx, and;

- TJ Booth Associates Geo Environmental Audit, Phase 1 Preliminary Risk Assessment, Phase 2 Site Investigations, Phase 3 Remediation Strategy, Proposed Residential Development, Hillbank Street, Middleton, Report Reference rep-tjba-harrison-hillbank st-phs1_2_3env-270824.docx.

The Report for Church Avenue concludes that remediation is required, with a subsequent verification report to be completed and submitted which demonstrates that remediation has been successfully achieved.  Remediation is proposed to consist of removal of Made Ground to 600mm across the site, apart from those locations where hardstanding will be present; i.e. removal of made ground in areas to be gardens and/or soft landscaping.

The Report for Hillbank Street concludes that remediation is required, with a subsequent verification report to be completed and submitted which demonstrates that remediation has been successfully achieved.  Remediation is proposed to consist of removal of Made Ground to 600mm across the site, apart from those locations where hardstanding will be present; i.e. removal of made ground in areas to be gardens and/or soft landscaping.

These conclusions are acceptable and can be considered to represent the “approved recommendations” as per the condition.  I would expect the verification report to be submitted in the future.

If you wish to partially discharge the condition, I can recommend the parts of the condition highlighted in bold can be discharged:

“Prior to commencement of the development an investigation and risk assessment, in addition to any assessment provided with the planning application, must be completed to assess the nature and extent of any contamination on the site, whether or not it originates on the site. The investigation and risk assessment must be undertaken by competent persons and a written report of the findings must be produced and shall have been first submitted to and approved in writing by the Local Planning Authority before development commences. The report of the findings must include:

i) a survey of the extent, scale and nature of contamination

ii) an assessment of the potential risks to:

- human health,

- property (existing or proposed) including buildings, crops, livestock, pets, woodland, and service lines and pipes,

- adjoining land,

- groundwaters and surface waters,

- ecological systems,

- archaeological sites and ancient monuments;

iii) where unacceptable risks are identified, an appraisal of remedial options and proposal of the preferred option(s).

The development shall thereafter be completed in full accordance with the approved recommendations.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)