|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 25/06/2025

Team: Environmental Control (Landfill Gas)

Application Number: 25/00608/DOC

Proposal: Submission of details to comply with conditions 6 (construction method statement), 13 (land contamination) and 12 (bird nesting season) on planning permission 24/00271/FUL

Dear Tom,

I have reviewed the below referenced reports in relation to this site:

- CC Geotechnical Ltd Phase I-II Geoenvironmental Report for Land off Sandbrook Way (report reference CCG-C-24-14676), and;

- CC Geotechnical Ltd Phase III Remediation Strategy Report for Land at Sandbrook Way (report reference CCG-C-24-14767);

I note that both the Phase I/II report and the Remediation Strategy both refer to outstanding ground gas monitoring.  We will need to see these reports updated to include this outstanding monitoring to enable us to complete our assessment of the work provided.

The remediation strategy does not contain any information on how the release of asbestos fibres is to be managed during remedial and development works.  The Phase I/II report does state that:

“… it is incumbent on the developer / contractor to devise a Health and Safety Plan which takes account of the risks of human exposure to airborne fibres during excavation and similar works which may cause disturbance of the ground.”

This is supported by the same sentence in the “Validation Report.” Section of the Remediation Strategy:

“… it is incumbent on the developer / contractor to devise a Health and Safety Plan which takes account of the risks of human exposure to airborne fibres during excavation and similar works which may cause disturbance of the ground.”

This documentation needs to be provided to enable to us to adequately assess the risks from the proposed works and to ensure controls are adequate.

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)