# Highways and Engineering Service

# Economy and Environment

Consultation Response on behalf of Head of Highways and Engineering

Application Number: 24-01204-FUL

Date Received:      19 December 2025

Date of Response: 22 December 2025

## Proposal Outline:

Erection of 1 No. one bedroomed bungalow with associated parking and landscaping

## Consultation Report:

The application site is within a residential area a short walk from Manchester New Road which is a busy public Transport Route with regular Bus Services between Rochdale/Middleton and Manchester. This is a semi sustainable location.

The traffic generation associated with usage will be very low.

Just one parking bay has been provided at this location and the bay provided is on insufficient length to allow for any operational space around the vehicle. A minimum bay length up to a solid wall is 5500mm.

The proposed site access has very limited visibility due to overgrown hedges. We would however expect very low speeds of traffic and much of the hedge removed to allow for this proposal which on balance would be an improvement to the visibility at this location.

Access is sought along an unadopted highway. We do have some concerns regarding construction traffic causing damage to the road surface and neighbouring properties having to share the expense of the road repair. We would therefore require a dilapidation survey of the road is undertaken prior to development and any damage apparent upon completion to the highway surface remedied at the expense of the developer.

There is no changes to the existing highways network indicated on the plans submitted.

There is no new highways proposed as part of this development.

No PROW will be obstructed by this proposal.

We have no new road safety concerns resulting from these proposals.

Refuse collection and servicing from this location will continue to operate as it does at present.

## Officer Recommendation:

We have no objection to this proposal subject to condition.

## Conditions:

A dilapidation survey of the road and footway should be undertaken prior to development and any damage apparent to the highway surface upon completion shall be remedied at the expense of the developer.

## Highways Sign off

John Gillighan 22/12/2025