# Highways and Engineering Service

# Economy and Environment

Consultation Response on behalf of Head of Highways and Engineering

Application Number: 25-01118-FUL

Date Received:      15 December 2025

Date of Response: 16 December 2025

## Proposal Outline:

## Change of use from public house and restaurant to offices (Use class E(g)(i), comprising the demolition of an existing extension, the erection of a single storey extension, alterations to the existing roof and fenestration, erection of a detached storage building and detached amenity building with associated vehicle parking, boundary treatments, concrete hardstanding and soft landscaping.

## Consultation Report:

The application site is at the very edge of the borough and well removed from the Public Transport Network which is upwards of 800m away.

The traffic generation associated with usage is not expected to be problematic.

The level of parking provided on site is not adequate for a location where sustainable transport is not an option. There is ample space on site to provide additional parking but this has not been included on the plans submitted. The Design and Access Statement makes mention of 30 parking bays on site. If this can be demonstrated we would have no objection to these proposals we would however prefer 38 parking bays are provided to match the potential staffing numbers.

The site access is well established but the highways used to access the site are not within Rochdale and I would seek the approval of Bury MBC on this aspect of the application.

There is no changes to the existing highways network indicated on the plans submitted.

There is no new highways proposed as part of this development.

No PROW will be obstructed by this proposal.

We have no new road safety concerns resulting from these proposals.

Refuse collection and servicing from this location is expected to operate through a private arrangement.

## Amendments to Consultation Response:

No amendments to report

## Officer Recommendation:

We defer recommendations regarding this application until clarity on parking provision has been offered.

## Highways Sign off

John Gillighan 16/12/2025