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Date: 07/01/2026
Team: Environmental Control (Landfill Gas) 
Application Number: OTH/2025/1185 
Proposal: Submission of details to comply with conditions 2 (site remediation) and 5 (hardstanding) of reserved matters application 24/00975/REM, Land at Waterfold Lane, Heywood, Bury, BL9 7JY
Dear Nick, 
I have reviewed the following submitted document to fulfil condition 2 on planning permission 24/00975/REM:
G&M Consulting Remediation Strategy for land off Waterfold Lane, Heywood, Bury, Lancashire, Report No: C795/RS, and appendices contained therein.
Within the Phase II report (included as appendix B of the submitted Remediation Strategy), section 8.1.3 says: 
“No ground gas monitoring has been undertaken to date.”
Section 9.1.3 of the Phase II report (appendix B of the Remediation Strategy) says:
“Ground gas protection measures, dependant on results of suitable ground gas monitoring over a period of varying atmospheric conditions.”.  
Section 9.1.3 then goes onto say:
“A Remediation Strategy will be required upon completion of the ground gas monitoring, to complete a risk assessment and to outline the gas protection measures (if required) …”
Section 5.5 of the Remediation Strategy itself says the following regarding ground gas:
“The findings of the investigation and monitoring work shall be reported to the local authority and details, should the need arise, of any proposed gas protection measures, should also be submitted, prior to any development work taking place.”
Finally, Section 7 of the Remediation Strategy says:
“The validation report shall include the following:
• Details of gas protection measures, should the need arise.”
As ground gas monitoring has not been undertaken, the need for ground gas protection measures has not been addressed.  Therefore, the need for ground gas protection needs to be clarified in light of an assessment of the ground gas risk before I could recommend partial discharge of condition 3 on planning permission 24/00975/REM. 
If you have any queries, please do not hesitate to reach out.
Yours sincerely,

Jonathon Parr

Jonathon Parr
Environmental Health Senior Officer (Environment Prot)
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