|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 12/01/2026

Team: Environmental Control (Landfill Gas)

Application Number: 24/01204/FUL

Proposal: Erection of 1 No. one bedroomed bungalow with associated parking and landscaping, Land Adjacent to Substation, Alkrington Hall Road North, Middleton, Manchester, M24 1SZ.

Dear Nick,

I have reviewed the following documents in relation to the application:

- Conway Archaeological Designs Design and Access Statement;

- Adeptus Consulting Coal Mining Risk Assessment, report reference A250307-R01, and;

- Conway Archaeological Designs Drawing Proposed Block, Site & Landscaping Plan, drawing reference number 975-02

Historically, the site was open space until the surrounding houses were built.  Originally, this land was part of the electricity sub-station before it seems to have been separated off as a separate plot between 2004 and 2007.  Because of this, the land may have been impacted by the development of the old sub-station.

Due to the sensitivity of potential receptors and the historic on-site and off-site land use, I would request the following condition, should you deem to grant permission:

“Prior to commencement of the development a Phase I Report (Preliminary Risk Assessment) must be completed to assess the actual and/or potential contamination risks at the site. The Phase 1 Report must be submitted to, and approved in writing by, the Local Planning Authority and shall include a desk top study, site walk over, conceptual model, basic hazard assessment and recommendation regarding the need or otherwise for further investigation and risk assessment.

Where the Phase 1 Report has identified potential unacceptable risks, a suitable investigation, risk assessment and remedial action shall be carried out in accordance with details and within a timescale to have first been submitted to and approved in writing by the Local Planning Authority.

In the event that contamination is suspected or found at any time when carrying out the approved development that was not previously identified, or contamination is caused, the Local Planning Authority shall be notified immediately and development affected and potentially affected by the contamination must stop. An investigation and/or risk assessment and/or remediation shall be carried out in accordance with an agreed process and within agreed timescales to have first been submitted to and approved in writing by the Local Planning Authority. If contamination is not suspected, found or caused during development, this must be confirmed in a completion letter which is subject to the approval in writing of the Local Planning Authority”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)