|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 29/05/2025

Team: Environmental Control (Landfill Gas)

Application Number: 25/00353/FUL

Proposal: Demolition of existing funeral home and detached garages and the erection of 28 self-contained apartments over 3 floors with concierge entrance, staff facilities and residents gym, including associated landscaping and on-site parking (18 Cars), bike storage and bin storage, new vehicular entrance from Castle Avenue, closure of the vehicular entrance from Manchester Road and new pedestrian entrance from Manchester Road.

Dear Claire,

I have reviewed the site history of the location, as well as the details on the application. Should you be minded to grant permission, I would request the following condition be placed on the permission:

“APAS CODE CW041

Preliminary Risk Assessment

Prior to commencement of the development a Phase I Report (Preliminary Risk Assessment) must be completed to assess the actual and/or potential contamination risks at the site. The Phase 1 Report must be submitted to, and approved in writing by, the Local Planning Authority and shall include a desk top study, site walk over, conceptual model, basic hazard assessment and recommendation regarding the need or otherwise for further investigation and risk assessment.

Where the Phase 1 Report has identified potential unacceptable risks, a suitable investigation, risk assessment and remedial action shall be carried out in accordance with details and within a timescale to have first been submitted to and approved in writing by the Local Planning Authority.

In the event that contamination is suspected or found at any time when carrying out the approved development that was not previously identified, or contamination is caused, the Local Planning Authority shall be notified immediately and development affected and potentially affected by the contamination must stop. An investigation and/or risk assessment and/or remediation shall be carried out in accordance with an agreed process and within agreed timescales to have first been submitted to and approved in writing by the Local Planning Authority. If contamination is not suspected, found or caused during development, this must be confirmed in a completion letter which is subject to the approval in writing of the Local Planning Authority.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)