|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 10/11/2025

Team: Environmental Control (Landfill Gas)

Application Number: 25/00463/FUL

Proposal: Erection of two-storey front and side extensions following removal of existing covered play area, installation of cladding and alterations to fenestration to all elevations

Dear Sam,

I have had clarifying discussions with the applicant regarding this site, and as such I would like to amend my recommendations to you.  I will require details related to gas ingress prevention measures to be installed at the project, in particular within the lift shaft.  The applicant should detail what is required from using the contents of Table 4 from BS:8485:2015+A1:2019.  They should then include a design drawing to indicate where and how the gas ingress prevention measures are to be installed.  The appropriate installation of these will need verification via a verification report.  To ensure this, I would recommend the following condition, should you deem to grant approval:

“No development shall commence until proposals for gas protection measures, to be incorporated into the proposed building to prevent the ingress of landfill gas or ground gas, have been submitted to, and approved in writing by, the Local Planning Authority.

The development shall thereafter be completed in accordance with the approved details and a Verification Report confirming the installation of the approved protection measures shall be submitted to, and approved in writing by, the Local Planning Authority.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)