|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 07/04/2026

Team: Environmental Control (Landfill Gas)

Application Number: 25/01149/FUL

Proposal: Change of Use from offices (Use class E) to 14 no. self-contained flats (Use class C3) creation of new windows and lightwell excavation at lower ground floor, 193-195 Drake Street Rochdale OL11 1EF.

Dear Anna,

I have reviewed the documents submitted in support of the planning application, as well as the sites history.

Prior to being used by the Probation Service, and up until some unknown time, the site was residential housing.  Whilst the property is not present on the earliest available OS maps (surveyed 1848-1889), it is present on subsequent maps dated from 1891-1892, where it is shown as being part of Wellington Terrace; the properties were still shown as separate buildings until the 1970s.

Given this history, the lack of any real significant sources of contamination, and that it is likely that only minor amendments to the building will be undertaken, I do not request any condition, should you deem to grant permission.

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)