|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 19/05/2026

Team: Environmental Control (Landfill Gas)

Application Number: OTH/2026/0312

Proposal: Submission of details to comply with condition 12 (remedial works) on planning permission 23/00431/HYBR, Land at Castleton Sidings.

Dear Nick,

I have reviewed the following documents submitted to support the application to discharge the conditions:

- PN Daly Ltd Drawing “Water Construction Drawing”, drawing number PND / 8963 / 01W;

- E3p Materials Management Plan, Castleton Sidings, Report Reference: 14-768-R6-8;

- E3p Gas Membrane Validation: 14-768-V2 Plots 18-21, 14-768-V3 Plots 9-12 and 125-129, 14-768-V5 Plots 13-15, 14-768-V5, Plots 130-131, 14-768-V7 Plots 121-124 and 132-133, 14-768-V8 Plots 174-180, 14-768-V9 Plots 185-186, 14-768-V10 Plots 181-184, 14-768-V11 Plots 187-191, 14-768-V12 Plots 119-120 and 172-173,

- E3p Sub-floor validation: 14-768-V1 Plots 9-15, 18-21 and 127-129, 14-768-V6 Plots 171-174

- E3p Garden Validation: 14-768- V1 Plots 11-15, 14-768-V2 Plots 185-191, 14-768-V4 Plots 175-182,

- E3p Interim Validation Report Phase 1 Area - Castleton Sidings, Rochdale, Report Reference: 14-768-R7-A-1

I have the following queries:

- Headers within report 14-768-V1 states that the site is Hunters Lodge site in Crewe.  Can e3p confirm that this report actually relates to the site under application (Hawks View)?

- Report 14-768-R7-A-1 says that the “Removal of all waste materials to a licensed facility” is to be confirmed.  These needs confirming (although I recognise the copies of waste consignment notes within Appendix IX.  This appears to be the only outstanding item on page 184 of this report.

- Report 14-768-R6-8, we will need confirmation this has been signed off by a Qualified Person.

Subject to the satisfactory answers to the above queries, I can recommend discharging condition 12 on permission 23/00431/HYBR for the following plots:

11, 12, 13, 14, and 15.

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)