Rear Door 35

Full Specifications

Manufacturer product number

EXTOAKFAR30

Brand

Liberty Doors

Area for use

External / exterior use

Type

Standard Doors

Material

Oak

Finish

Unfinished

Colour

Brown

Lipping

15mm solid lipping

Core type

Solid timber core

Trimming allowance

10mm trimming from all edges

Manufacturer guarantee

Lifetime Guarantee

Sustainability

Responsibly sourced timber from sustainable forestry

Recommended hardware

3x External hinges. Weather Bar to comply with manufacturers guarantee

Rear Door 33

Full Specifications

Manufacturer product number

EXTOAKSTBCG30

Brand

Liberty Doors

Area for use

External / exterior use

Type

Stable Doors

Material

Oak

Finish

Unfinished

Colour Brown

Glazing type

14mm double clear toughened safety glass

Lipping 15mm solid lipping

Core type

Solid timber core

Trimming allowance

10mm trimming from all edges

Manufacturer guarantee

Lifetime Guarantee

Sustainability

Responsibly sourced timber from sustainable forestry

Recommended hardware

3x External hinges. 2x Weather bars to comply with manufacturers guarantee

Front Door 33 & 35

4 Panel Exterior Hardwood Front Door

Brand

Liberty Doors

Area for use

External / exterior use

Material

Hardwood

Finish

Unfinished

Colour

Brown

Lipping

15mm solid lipping

Core type

Solid timber core

Trimming allowance

10mm trimming from all edges

Manufacturer guarantee

Lifetime Guarantee

Sustainability

Responsibly sourced timber from sustainable forestry

Recommended hardware

3x External hinges. Weather Bar to comply with manufacturers guarantee