|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 1st June 2026

Team: Environmental Control (Landfill Gas)

Application Number: PL/2026/0392

Proposal:  Demolition of existing single storey extension and service yard canopy, erection of extension and alterations to existing building, change of use to allow a flexible use within Classes B2, B8 and / or E(g)(iii) and a series of physical works to reconfigure the site including an extension to the service yard, new hard and soft landscaping and associated infrastructure.  Land at Proseat LLP, Stakehill Industrial Estate, Finlan Road, Middleton, Manchester, M24 2SJ.

Dear Claire,

I have reviewed the report submitted in support of the application:

- Delta Simons, Geo-Environmental Assessment, Unit A Finlan Road, Stakehill Industrial Estate, Middleton, M24 2SJ, Project Reference No: 90720.554769

I note the conclusions within section 9.4, in particular, the recommendations for further work:

- Chemical and geotechnical analysis of the shallow Made Ground encountered in the west of Site, if it is to be re-use on Site prior to construction;

- Unidentified localised areas of contamination may exist at the Site and an appropriate ‘hotspot’ protocol should be in place for groundworkers to act upon should such contamination be identified during the construction process, and;

- The re-use of materials on-site may be possible if required and where the material is chemically and geotechnically suitable for its proposed end location. Material re-use would need to be undertaken under a Materials Management Plan. Any imported material, including topsoil would also be chemically and geotechnical suitable for its proposed end-use

I expect the local planning authority to be contacted if any of these arise.  To ensure this, I would recommend the following conditions be placed upon any permission you deem to grant:

“Any soil or soil forming materials brought to site or sourced from on-site, shall be tested for contamination and suitability for use on site. Proposals for testing including testing schedules, sampling frequencies and allowable contaminant concentrations (as determined by appropriate risk assessment) and source material information shall be submitted to and approved in writing by the Local Planning Authority prior to any soil or soil forming materials being brought onto, or re-used from, site.

The approved contamination testing shall then be carried out and validatory evidence (including soil descriptions, laboratory certificates, photographs) submitted to and approved in writing by the Local Planning Authority prior to the development being brought into first use or occupation.

Where a Materials Management Plan is required, the version signed off by a Qualified Person shall be submitted to and approved in writing by the Local Planning Authority prior to any soil or soil forming materials being brought onto, or re-used from, site.”

and

“If during any works on site contamination is suspected or found or contamination is caused, the Local Planning Authority shall be notified immediately. A suitable investigation and/or risk assessment and/or any remedial action shall be carried out in accordance to an agreed process and within agreed timescales to the approval of the Local Planning Authority. If contamination is not suspected, found or caused during development this must be confirmed in a completion letter which is subject to the approval in writing of the Local Planning Authority.”

If you have any queries, please don’t hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)