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Date: 04/06/2026
Team: Environmental Control (Landfill Gas) 
Application Number: OTH/2026/0312 
Proposal: Submission of details to comply with condition 12 (remedial works) on planning permission 23/00431/HYBR, Land at Castleton Sidings.
Dear Nick,
I have reviewed the following documents submitted to support the application to discharge the conditions:
PN Daly Ltd Drawing “Water Construction Drawing”, drawing number PND / 8963 / 01W;
E3p Materials Management Plan, Castleton Sidings, Report Reference: 14-768-R6-8;
E3p Gas Membrane Validation: 14-768-V2 Plots 18-21, 14-768-V3 Plots 9-12 and 125-129, 14-768-V5 Plots 13-15, 14-768-V5, Plots 130-131, 14-768-V7 Plots 121-124 and 132-133, 14-768-V8 Plots 174-180, 14-768-V9 Plots 185-186, 14-768-V10 Plots 181-184, 14-768-V11 Plots 187-191, 14-768-V12 Plots 119-120 and 172-173,
E3p Sub-floor validation: 14-768-V1 Plots 9-15, 18-21 and 127-129, 14-768-V6 Plots 171-174
E3p Garden Validation: 14-768- V1 Plots 11-15, 14-768-V2 Plots 185-191, 14-768-V4 Plots 175-182,
E3p Interim Validation Report Phase 1 Area - Castleton Sidings, Rochdale, Report Reference: 14-768-R7-A-1
I have also reviewed the following submitted reports in response to my previous comments:
E3p Garden Validation: 14-768-V1 plots 11-15;
E3p Interim Validation Report Phase 1 Area - Castleton Sidings, Rochdale, Report Reference, 14-768-R7-A-2, and;
Various document relating to the Materials Management Plan signed off by the Qualified Person, Robert Tinsley QP424.
The submission of these documents has satisfied my earlier queries, and I am content with the works which have been undertaken and validated to date.  There are 25 remedial actions as set out within report reference: 14-768-R7-A-2 (Interim Validation Report).  I notice that we are still awaiting confirmation of certain remedial actions to be documented for confirmation within the Phase 1 area of the site.
Not included within the remedial actions are the installation of gas ingress protection barriers; however, reports have been submitted to validate aspects of the installation, including sub floor void and membrane installation.  The contents of these submissions are also acceptable.  This produces a total of 27 remedial actions.  I would only recommend discharge of condition 12 of planning permission 23/00431/HYBR when all 27 have been validated.  This is not the case at the moment, though I reiterate I am content with what has been done and validated to date.
RE-23 (Waste Soils Surplus to requirements) has not been validated to date, as far as I can see.  I would note that RE-24 is the responsibility of United Utilities.  
As these are all actions within the accepted remediation strategy, I would not recommend complete signing off of condition 12 of planning permission 23/00431/HYBR until all outstanding aspects have been documented and submitted.
If you have any queries, please do not hesitate to reach out.
Yours sincerely,
Jonathon Parr
Jonathon Parr
Environmental Health Senior Officer (Environment Prot)
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