|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 07/07/2026

Team: Environmental Control (Landfill Gas)

Application Number: PL/2026/0549

Proposal: Residential development comprising 27 affordable dwellings, including one apartment building (3 storey) containing 23 apartments and a terrace (2.5 storey) of 4 family houses, together with associated external works., Land at 206-208 Drake Street, Rochdale, OL16 1PJ.

Dear Nick,

I have reviewed the following documents submitted in support of this application:

- IGE Consulting 206-208 Drake Street, Rochdale, Phase 1 Geo-Environmental Investigation Report, Report Reference: 3931-01;

- IGE Consulting 206-208 Drake Street, Rochdale, Phase 2 Geo-Environmental Investigation Report, Report Reference: 3931-02D;

- IGE Consulting 206-208 Drake Street, Rochdale, Remedial Strategy Report, Report Reference: 3931-03A, and;

- IGE Consulting 206-208 Drake Street, Rochdale – Soil Infiltration Test Letter Report, Report Reference 3931-04A/NR.

The submitted reports are acceptable.  I would recommend the following condition, should you deem to grant permission.

“IGE Consulting 206-208 Drake Street, Rochdale, Remedial Strategy Report, Report Reference: 3931-03A is considered to be the approved remediation scheme.  The approved remediation scheme shall thereafter be fully implemented. There shall be no variation of the approved remediation scheme unless otherwise approved in writing by the Local Planning Authority. Following completion of the measures identified in the approved remediation scheme and prior to the commencement of the permitted use/development, a verification report that demonstrates the effectiveness of the remediation carried out must be produced and submitted to and approved in writing by the Local Planning Authority.

In the event that contamination is found at any time when carrying out the approved development that was not previously identified it must be reported in writing immediately to the Local Planning Authority. An investigation and risk assessment must be undertaken and where remediation is necessary a remediation scheme must be prepared, which is subject to the approval in writing of the Local Planning Authority. Following completion of measures identified in the approved remediation scheme a validation report must be prepared which is subject to the approval in writing of the Local Planning Authority.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)