|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 13/07/2026

Team: Environmental Control (Landfill Gas)

Application Number: NOT/2026/0489

Proposal: Prior approval for conversion of ground floor commercial/business use to form 3no. apartments, Sudden Mill Manchester Road Rochdale OL11 4QR

Dear Luke,

I have reviewed the information submitted with the application.  I note that no information related to contamination was provided with the application.

The site was represented as open space, likely agricultural, at the time of the earliest Ordnance Survey maps of the area (1840s).  By the 1890s, the site was occupied by the Littlefields Cotton Mill (with 320 looms, manufacturing T cloths and flanelettes, amongst other material).  By the 1950s, the site was known as Sudden Mills and was for cotton and dyeing.  By the 1970s, the site was just labelled a “Works”.

Given these land uses, and the sensitive end use, I would expect to see an assessment relating to the sites suitability regarding contamination.  As one has not been submitted, I would request the following condition should you deem to grant permission:

“Preliminary Risk Assessment.

Prior to commencement of the development a Phase I Report (Preliminary Risk Assessment) must be completed to assess the actual and/or potential contamination risks at the site. The Phase 1 Report must be submitted to, and approved in writing by, the Local Planning Authority and shall include a desk top study, site walk over, conceptual model, basic hazard assessment and recommendation regarding the need or otherwise for further investigation and risk assessment.

Where the Phase 1 Report has identified potential unacceptable risks, a suitable investigation, risk assessment and remedial action shall be carried out in accordance with details and within a timescale to have first been submitted to and approved in writing by the Local Planning Authority.

In the event that contamination is suspected or found at any time when carrying out the approved development that was not previously identified, or contamination is caused, the Local Planning Authority shall be notified immediately and development affected and potentially affected by the contamination must stop. An investigation and/or risk assessment and/or remediation shall be carried out in accordance with an agreed process and within agreed timescales to have first been submitted to and approved in writing by the Local Planning Authority. If contamination is not suspected, found or caused during development, this must be confirmed in a completion letter which is subject to the approval in writing of the Local Planning Authority.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)