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Design and Access Statement (DAS)

Location: Maw Rode Farm, Moor Road, Littleborough, OL15 9QH
Grid Coordinates: SD 94486 18379

Proposed cable route 
A new underground cable is to be installed down the driveway of Maw Rode Farm and up the wall of the property. The cable will be protected by a cable guard up to 1.8m up the wall and this can be colour matched to the building. 

Route Option
The supply to Maw Rode is currently fed from an overhead line. The over headline is open wires and this needed to be replace to either ABC or the alternative option was to underground the route. After discussing the proposed options with the land owner it was agreed that the underground route would be most preferable. This would also be more astatically pleasing for the area. 


Impact of proposed works on Listed Building
SPENWL have designed the scheme so that the new cabling will have minimal impact on the property.


Minimising impact on the property
Existing entry point will remain the same into the property and only a new small section of underground cable will be installed up the wall of the building and attached to the existing cable with a wall guard. 

Access Consideration
All works will take place outside of the property and access to the building can be utilised via the open driveway. 
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