|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 27th August 2026

Team: Environmental Control (Landfill Gas)

Application Number: PL/2026/0679

Proposal: Construction of an SEN school, with associated access, parking, landscaping, drainage, land regrading and associated works, land Off Heywood Old Road, Middleton, Rochdale, OL10 2QN.

Dear Anna,

I have reviewed the following information provided as part of the application;

- LK Consult “Heywood Old Road Preliminary Risk Assessment”, report reference LKC251564-A1-PRA-Heywood Old Road R0, dated 24th December 2025, and;

- LK Consult “Heywood Old Road, Middleton Phase 2 Geo-Environmental Investigation, Risk Assessment and Outline Remediation Strategy”, report reference LKC251564 -B1-GI-Heywood Old Road, Middleton R2, dated 13th March 2026.

The reports are acceptable.  Section 9, “Recommendations and Remediation Strategy” outlines recommendations which will need to be evidenced, including if unexpected contamination is detected, there is the re-use of site generated material, etc., as well as validation of imported and site won soils.  I would recommend the following condition, should you deem to grant permission:

“The development hereby approved shall be carried out in full accordance with the recommendations of the approved remediation scheme within Section 9 of LK Consult report Heywood Old Road, Middleton Phase 2 Geo-Environmental Investigation, Risk Assessment and Outline Remediation Strategy, report reference LKC251564 -B1-GI-Heywood Old Road, Middleton R2, dated the 13th March 2026.

Following completion of the measures identified in the approved remediation scheme and prior to first use/occupation of the approved development, a verification report that demonstrates the effectiveness of the remediation carried out shall be submitted to and approved in writing by the Local Planning Authority.

In the event that contamination is found at any time when carrying out the approved development that was not previously identified it must be reported in writing immediately to the Local Planning Authority. An investigation and risk assessment must be undertaken and where remediation is necessary a remediation scheme must be prepared, which shall be submitted to and approved in writing by the Local Planning Authority.

The development shall thereafter be carried out in full accordance with the duly approved remediation strategy. Prior to the first use or occupation of the approved development, a verification report shall be submitted to and approved in writing by the Local Planning Authority.

Reason: To ensure the safe development of the site in the interests of the amenity of future occupiers in accordance with Policy G9 of the adopted Rochdale Core Strategy, Policy JP-S1 of the adopted Places for Everyone Joint Development Plan and the National Planning Policy Framework.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)

.