|  |  | Public Health and Communities Kuiama Thompson Director of Public Health and Communities # Public Protection and Customers Number One Riverside, Smith Street, Rochdale, OL16 1XU Tel: (01706) 924688 Email: jonathon.parr@rochdale.gov.uk Website: www.rochdale.gov.uk |
| --- | --- | --- |

Date: 28th August 2026

Team: Environmental Control (Landfill Gas)

Application Number: PL/2026/0728

Proposal: Erection of three storey building comprising 6no. 1 Bedroom flats with associated car parking and boundary treatment.  Land adjacent to 23 Grove Road, Middleton, Manchester, M24 2LZ.

Dear Claire,

I have reviewed the following information provided as part of the application;

- TJ Booth Associates Geo-environmental Audit Phase 1 Preliminary Risk Assessment, Proposed Residential Development, Grove Road, Middleton, M24 2LZ.  Report reference rep-tjba-vrajitoru-grove rd-Phs1Env-100726.docx.

The report is acceptable.  The recommendations are for a ground investigation.  I note that within Section 4.2.2, PCBs are mentioned as being potentially present.  However, within Section 5.2.1, PCBs are not mentioned; PCBs should be tested for if they are suspected to be present.  Should a report and relevant risk assessment related to any ground investigation works not be submitted prior to Decision, and should you deem to grant permission, I would recommend the following condition:

“Prior to commencement of the development an investigation and risk assessment, in addition to any assessment provided with the planning application, must be completed to assess the nature and extent of any contamination on the site, whether or not it originates on the site.  The investigation and risk assessment must be undertaken by competent persons and a written report of the findings must be produced and shall have been first submitted to and approved in writing by the Local Planning Authority before development commences.  The report of the findings must include:

- a survey of the extent, scale and nature of contamination

- an assessment of the potential risks to:

  - human health,

  - property (existing or proposed) including buildings, crops, livestock, pets, woodland, and service lines and pipes,

  - adjoining land,

  - groundwaters and surface waters,

  - ecological systems,

  - archaeological sites and ancient monuments;

- where unacceptable risks are identified, an appraisal of remedial options and proposal of the preferred option(s)

The development shall thereafter be completed in full accordance with the approved recommendations.

Reason: To ensure the safe development of the site in the interests of the amenity of future occupiers in accordance with Policy G9 of the adopted Rochdale Core Strategy, Policy JP-S1 of the adopted Places for Everyone Joint Development Plan and the National Planning Policy Framework.”

If you have any queries, please do not hesitate to reach out.

Yours sincerely,

Jonathon Parr

Jonathon Parr

Environmental Health Senior Officer (Environment Prot)